## Slide 1: Portable EL
Andrew L, Balaji R, Bhargav A​, ​Yixin L
ENGN 8170

## Slide 2: CONTEXT & Purpose
Context
Is a system that utilises electroluminescence where current is run through a panel such that light emission occurs and is captured by an IR camera
System is portable as opposed to standard EL systems which have dedicated rooms to perform imaging
Current Proposal has been put forth by our client Professor Marco, with procurement of components and initial study/development of concept completed
Purpose
EL system that can be used to identify inactive and/or defective cells in a solar panel

## Slide 3: Scope
System is expected to only image 1 solar panel at a time
EL system captures images of panels in an alternating state of bright (when current is sent to panel) and dark (when no current is sent to panel).
System analysis including removing dark images from bright images to remove background light (measurement noise) and produce an image that shows defects (Example shown on next slide)
System can run at specified current through panel that meets the required power rating and circuit design
Current source, camera, and processing is performed by a single computer (laptop or Raspberry Pi)
If possible, user interface will be implemented that can take all relevant inputs and produce an output.

## Slide 4
Desired Output

## Slide 5: Process Flowsheet
Note: The above flowsheet shows the individual components, which might have multiple subcomponents that will be developed as per requirements
Fuse
MOSFET
Current Limiter
Solar Module
RF Trigger
Power Source
Raspberry Pi
+
SD card
Display
IR Camera
Current Circuit
Communication Circuit

## Slide 6: Thank you